McMaster University

WORKPLACE INSPECTION CHECKLIST:  OFFICES

This checklist is intended to provide general guidance on inspecting office environments for potential health and safety hazards.  It is not intended to be exhaustive.  Committees should customize checklists as appropriate.

| 1. EMERGENCY PREPAREDNESS A. First Aid (i) First aid kit readily available (ii) First aid kit fully stocked (iii) List of trained first-aiders posted B. Emergency Equipment (i) Fire control equipment regularly tested (ii) Fire hose cabinets unobstructed (iIi) Fire control equipment appropriate for type of fire it must control (iv) Fire extinguisher inspected monthly (v) Emergency lighting in place and regularly tested (vi) Emergency exits marked and unobstructed C. Emergency Procedures (i) List of emergency phone numbers posted (ii) Personnel trained in emergency procedures (e.g. evacuation, fire, bomb threat) (iii) Personnel familiar with accident reporting procedures 2. SAFETY BULLETIN BOARDS Copy of the Occupational Health and Safety Act posted Current list of health and safety committee members posted Minutes of last committee meeting posted 3. SECURITY/PERSONAL SAFETY Security measures in place No working alone or in isolation where possible Adequate lighting in and around work areas 4. SANITATION AND AMENITIES Eating facilities clean and tidy Toilet and washroom facilities adequate and clean Drinking water available Hot and cold water available | 5. FLOORS, AISLES, STAIRWAYS, EXITS Clear and unobstructed Adequate aisles and walkways Free of loose materials, debris, spills or worn carpeting Well lit Is area wide enough for access/egress? 6. HOUSEKEEPING Materials safely stored Work areas and floors clean and organized Floors regularly cleaned Paper and wastes properly disposed of Surface dust levels low 7. LIGHTNING Adequate for tasks conducted Light fixtures in good condition Work surfaces free from glare or shadows 8. INDOOR AIR QUALITY Ventilation adequate for room conditions and usage Ventilation systems regularly inspected, tested and maintained Air inlets and outlets free of contamination such as dust, dirt, or mould Thermal comfort maintained (temperature, humidity, air velocity) 9. WORKSTATION ERGONOMICS Appropriate adjustable furniture and equipment available Workstation heights adjustable to suit worker size Chairs well designed/adjustable Foot rest provided where needed Sufficient work space Frequent breaks from computer or from fixed position work Carts or other appropriate mechanical lifting equipment available and used for handling heavy materials | 10. OFFICE EQUIPMENT Wall and ceiling fixtures securely fastened Desk and file drawers kept closed when not in use Office accessories in secure places File cabinets, drawers or shelves not overloaded Filing cabinets/shelves properly secured to floor and/or walls Furniture and equipment free of sharp edges Electrical or telephone cords not a trip hazard Photocopiers and printers located in well ventilated area to prevent contaminant buildup 11. NOISE Noise levels within acceptable office levels for the activities conducted 12. ELECTRICAL SAFETY Electrical cords, plugs and sockets in good condition Extension cords not used as permanent wiring Adequate electrical outlets Electrical outlets not overloaded 13. CHEMICAL SAFETY Chemical agents properly identified and labeled Material safety data sheets available for chemical agents Where required, employees trained in WHMIS, including safe use, handling and disposal of chemical agents |
| --- | --- | --- |