## Slide 1: SENSOR DESIGN FOR MEDICAL DEVICES
Luca Pollonini, Ph.D.
COSC 7388
October 1st, 2012

## Slide 2: OUTLINE
Biomedical devices and design principles
Use of mobile technologies in medical devices
Use and misuse of mobile technologies
Project proposals

## Slide 3: BIOMEDICAL DEVICES
FDA definition:
"an instrument, apparatus, implement, machine, contrivance, implant, in vitro reagent, or other similar or related article, including a component part, or accessory which is:
recognized in the official National Formulary, or the United States Pharmacopoeia, or any supplement to them,
intended for use in the diagnosis of disease or other conditions, or in the cure, mitigation, treatment, or prevention of disease, in man or other animals, or
intended to affect the structure or any function of the body of man or other animals, and which does not achieve any of its primary intended purposes through chemical action within or on the body of man or other animals and which is not dependent upon being metabolized for the achievement of any of its primary intended purposes."
… which means EVERYTHING BUT A DRUG
… sometimes even FDA has difficulty identifying a medical device from a non-medical device

## Slide 4: MOBILE TECH IN HEALTHCARE
Identifying a medical device is natively difficult
The advent of mobile technologies DID NOT HELP the environment
New issues generated by mobile technologies (from IEEE Spectrum):
“Clarify the difference between a medical app and a wellness app”
“Clarify the difference between diagnosing and monitoring”
“Establish the risk-level threshold for FDA enforcement”
“Define the limits of the FDA’s rule on apps that serve as device accessories”
“Make a plan for how to handle “modular” apps”
http://spectrum.ieee.org/biomedical/devices/the-fda-takes-on-mobile-health-apps

## Slide 5: MOBILE TECH IN HEALTHCARE
“There are more than 13,000 health and wellness apps” on iTunes alone (before FDA regulation)
A dramatic increase in biomedical accessories:
Heart rate monitors
Blood pressure devices
Glucose meters
…
Extremely rapid growth, extremely rapid confusion

## Slide 6: MOBILE TECH IN HEALTHCARE
Pro:
Advancement of healthcare (access, self-awareness, accuracy)
Lower cost of healthcare
…
Cons (risks):
Excessive, unregulated proliferation of non clinically-validated devices (will FDA change this?)
Role of doctor will change
…
What can we (engineers, scientists, doctors) do about it?

## Slide 7: MOBILE TECH IN HEALTHCARE
Dr. Eric Topol (Scripps Institute) plenary session at IEEE EMBS:
Description of how the landscape is changing from medical and engineering perspectives
Most interesting and novel apps and tools
Are they all good and validated?
https://ieeetv.ieee.org/player/html/viewer?dl=#embc-2012-plenary-speaker-dr-eric-topol
Emily Waltz (IEEE Spectrum):
“How I Quantified Myself: Can self-measurement gadgets help us live healthier and better lives?”
http://spectrum.ieee.org/biomedical/devices/how-i-quantified-myself

## Slide 8: MOBILE TECH IN HEALTHCARE
“With consistent use, these devices would provide a numeric picture of my general health and behaviors. They would give me intimate knowledge of my physical self, with all the information displayed neatly in graphs and charts.”
consistent use: strong assumption, rarely achieved because of poor design or inherent difficulty
numeric picture: not sure what it means to most people
displayed neatly in graphs and charts: definitely sure that it means nothing to most people

## Slide 9: MOBILE TECH IN HEALTHCARE
“It seems natural that we’ll soon add mobile health devices to our attire and let the biometric stat-checking ensue.”
“Or will we?”
“Can these devices really enable us to change our behavior?”
“Will they help us eat, sleep, and move better?”
“Or are they just new toys?”

## Slide 10: MOBILE TECH IN HEALTHCARE
Zeo Sleep Manager
Electroencephalography (EEG): brain waves
Electrooculography (EOG): eye movements
Superficial Electromyography (sEMG): muscle contraction
“It’s not the gold standard, but it’s reliable enough” (Journal of Sleep Research)
“I can’t wear this thing, it bothers my sleep” (next door neighbor)
“It picks up a lot of movement artifacts” (colleague)

## Slide 11: MOBILE TECH IN HEALTHCARE
Bodymedia armband (estimate energy expenditure)
Accelerometer
Skin conductivity
Skin temperature
“It deviates only 1% from a lab-grade monitor” (Iowa State University)
“These devices do a good job measuring output, but not input. Our research has shown that people are not within 60 percent of what they actually eat. It’s not that people are lying. It’s that it’s very, very hard.” (University of Colorado)
“…a pie chart and four timelines that show energy burned per minute, vigorous activity versus moderate activity, steps per hour, and a crude estimation of sleep.” (Author)

## Slide 12: MOBILE TECH IN HEALTHCARE
“Whether objective data can motivate people to make more dramatic lifestyle changes is unclear. [We] found that only a small portion of the population, around 10 percent, will change their behavior based on tracker information alone. That 10 percent is composed of people inherently interested in data, like fitness buffs and “quantified selfers,” the newly recognized class of nerdy people who revel in using technology to track their daily lives.” (Center for Connected Health, Harvard University)
“[We have] not seen any research suggesting that activity monitors like BodyMedia and Fitbit can help the average person lose weight. […] We have to give people a reason to change and to exercise more and eat less, and I don’t think information or data is enough” (National Weight Control Registry)
“By the end of my experiment, I’d realized that mere data probably isn’t enough to motivate me either. But lazing about the house with my husband, my son, and a glass of wine is my favorite thing to do, and I suspect that no amount of data will make me change my ways. Obsessing over my health data, however, was a much easier habit to kick. After two months of quantifying and analyzing, it felt blissful to unstrap all my monitors, forget about my daily stats, and just fall asleep.” (Author)

## Slide 13: MOBILE TECH IN HEALTHCARE
Authority (FDA, others)
Screen apps and devices
Scrutinize marketing claims
Seek evidence that corroborates claims
Issue strict guidelines to prevent misuse
Research/Industry
Validate existing devices
Fix issues of existing devices (GUIs, data mining, etc.)
Design and develop accurate, user-friendly devices whose output is interpretable by the lay person
Medical doctors and their associations/academies
Propose novel healthcare paradigms to include new technologies in healthcare
Authority (FDA, others)
Screen apps and devices
Scrutinize marketing claims
Seek evidence that corroborates claims
Issue strict guidelines to prevent misuse
Research/Industry
Validate existing devices
Fix issues of existing devices (GUIs, data mining, etc.)
Design and develop accurate, user-friendly devices whose output is interpretable by the lay person
Medical doctors and their associations/academies
Propose novel healthcare paradigms to include new technologies in healthcare

## Slide 14: MEDICAL DEVICES: DESIGN PRINCIPLES
It is not that difficult, just apply the basics!!!
Specification of requirements
Design (be smart: reusability)
Development
Testing
Maintenance
Every project/customer/application is different
Do not skip or shorten the specification of requirements
Do not be afraid to speak up during requirements
Re-use previous, validated modules (hardware, software)
Validate and ask to validate

## Slide 15: MEDICAL DEVICES: DESIGN PRINCIPLES
It is not that difficult, just apply the basics!!!
Specification of requirements
Design (be smart: reusability)
Development
Testing
Maintenance
Every project/customer/application is different
Do not skip or shorten the specification of requirements
Do not be afraid to speak up during requirements
Re-use previous, validated modules (hardware, software)
Validate and ask to validate

## Slide 16: ROLE DEFINITION
Doctors formulate medical problems
Engineers overcome technical barriers to the advancement of medicine
BIOMEDICAL ENGINEERING
RESEARCH PROJECT

## Slide 17: FAILURE of RESEARCH PROJECT
80% due to LACK of EFFECTIVE COMMUNICATION
20% due to USUAL SUSPECTS (lack of time, funds, resources, and/or ability of investigators)
Different expectations, mindsets, skills, personalities
Effective communication can reduce/close gaps
Difficult to achieve (young investigators)
LACK of COMMUNICATION ?

## Slide 18: CASE STUDY 1
DOCTOR
ENGINEER
- Hi engineer, I have this bla bla bla problem, can you help solving it?
- Of course, I will build a robot that will replace you and do you job better!!!
- Sure…

## Slide 19: COMMENTS
Regardless of how advanced is the technology, engineering NEVER replaces medical expertise
Engineering provides quantitative evidence to support medical decisions
Engineers tend to overpromise results
Doctors do not like to be replaced by a machine

## Slide 20: CASE STUDY 2
DOCTOR
ENGINEER
- Hi engineer, I have this bla bla bla problem, can you help solving it?
- I am trying to understand the problem. What limits you currently?
- You figure it out…
- What would you like to measure?
(anatomy and physiology)
- I do not think so…

## Slide 21: COMMENTS
Different expectations on other’s expertise
Doctors do not initially know what they want/need to measure
Engineers need to go the extra mile to understand medicine in order to propose methods that deliver quantitative information
Doctors need to understand the proposed method(s) to determine if it represents a solution to the medical problem

## Slide 22: CASE STUDY 3
DOCTOR
ENGINEER
- Hi engineer, I have this bla bla bla problem, can you help solving it?
- I think I understand the problem and I can solve it.
- Great, how long does it take to solve it?
- It would take about 6 months…
- I need it in two weeks…
- Forget it

## Slide 23: COMMENTS
Engineering takes time to develop
Difficult to correctly guess a project timeline

## Slide 24: MORAL of the STORY
Doctors and engineers are equally instrumental and responsible for the success of a biomedical research project
Great efforts are required to find a “common language” to achieve a mutual understanding of requirements, methods, goals, deliverables

## Slide 25: PROPOSED PROJECTS
Mobile platform for remote monitoring of post-operatory clinical data
Design and development of a mobile app for monitoring of cardiac rehabilitation and general well-being

## Slide 26: PROJECT #1
Mobile platform for remote monitoring of post-operatory clinical data
Design and development of a mobile app for monitoring of cardiac rehabilitation and general well-being